## 計
矩形渠 実水深の計算
入力条件
クッター | 計算方式
101 | 路線番号…省略可
10 | B:底幅（ｍ）
0 | x:左壁勾配（1:x）
0 | y:右壁勾配（1:y）
0.015 | n:粗度係数
0.00011 | I:水路勾配
25 | Q:実流量（ｍ3/秒）
クッターの公式を用いるときの流量公式は
Q=N･R･(R1/2+Z)-1･A
これを変形すると
| A･N･R-Q･R1/2-Q･Z=0 |  |  |  | …(1)
R=A/Pより
| A2･N･P-1-Q･A1/2･P-1/2-Q･Z=0 |  |  |  | …(2)
(2)をF(H)と表現し、 H を未知数とする高次方程式と考え、
ニュートンの求根法を用いて H を求めるために、(2)を微分すると
F'(H)=N･A･P-1･(2･A'-A･P'･P-1)-1/2･Q･A-1/2･P-3/2･(A'･P-A･P')
| ここで | A =1/2･(x+y)･H2+B･H
P =((1+x2)1/2+(1+y2)1/2)･H+B
A'=(x+y)･H+B
P'=(1+x2)1/2+(1+y2)1/2
N =(23+n-1+0.00155･I-1)･I1/2
Z =(23+0.00155･I-1)･n
H=H'-F(H')/F'(H')の求根式において H' を適当に仮定し H を求め、
更に、この H を H' として次の H を求める。
これを繰り返すと H はほとんど変化しなくなるので、このときの H を採用する。
計算結果
2.532 | H:実水深（ｍ）
0.987 | V:実流速（ｍ/秒）
円形断面 実水深の計算
入力条件
マニング | 計算方式
38518 | 路線番号…省略可
1 | D:直径（ｍ）
0.013 | n:粗度係数
0.001 | I:勾配
0.068 | Q:実流量（ｍ3/秒）
マニングの公式を用いるときの流量公式は
Q=n-1･R2/3･I1/2･A
これを変形すると
| n-1･R2/3･I1/2･A-Q=0 |  |  |  | …(1)
R=A/Pより
| I1/2･n-1･A5/3-Q･P2/3=0 |  |  |  | …(2)
(2)をF(H)と表現し、 H を未知数とする高次方程式と考え、
ニュートンの求根法を用いて H を求めるために、(2)を微分すると
F'(H)=5/3･I1/2･n-1･A'･A2/3-2/3･Q･P'･P-1/3
| ここで | A =r2･cos-1(1-H･r-1)-1/2･r2･sin(2･cos-1(1-H･r-1))
P =2･r･cos-1(1-H･r-1)
A'=2･r･(1-(1-H･r-1)2)1/2
P'=2･(1-(1-H･r-1)2)-1/2
r =1/2･D
H=H'-F(H')/F'(H')の求根式において H' を適当に仮定し H を求め、
更に、この H を H' として次の H を求める。
これを繰り返すと H はほとんど変化しなくなるので、このときの H を採用する。
計算結果
0.202 | H:実水深（ｍ）
0.598 | V:実流速（ｍ/秒）
実水深の計算
矩形渠 実水深の計算
入力条件 |  |  | 計算結果
クッター | 計算方式 |  | 2.532 | H:実水深（ｍ）
101 | 路線番号…省略可
10 | B:底幅（ｍ） |  | 0.987 | V:実流速（ｍ/秒）
0 | x:左側勾配（1:x）
0 | y:右側勾配（1:y）
0.015 | n:粗度係数
0.00011 | I:水路勾配
25 | Q:実流量（ｍ3/秒）
円形断面 実水深の計算
入力条件 |  |  | 計算結果
マニング | 計算方式 |  | 0.202 | H:実水深（ｍ）
38518 | 路線番号…省略可
1 | D:直径（ｍ） |  | 0.598 | V:実流速（ｍ/秒）
0.013 | n:粗度係数
0.001 | I:勾配
0.068 | Q:実流量（ｍ3/秒）
開 始
印 刷
確認終了
確認終了
終 了
↑
印刷は計算終了後、行って下さい。

## ダ
1 | 2 | 3 | 4 | 5 | 6 | 7
| 100 | 50 | 580 | 360 | 矩形渠（台形含む）の実水深の計算
5 | 5 | 5 |  |  | 入力後は［Tab］キーで移動して下さい
14 | 15 | 25 | 120 | 60 | 流量公式
11 | [5 empty] | 2
12 | 30 | 40
12 | 30 | 60
5 | 55 | 43 |  |  | マニング
5 | 55 | 63 |  |  | クッター
6 | 20 | 100 | 100 | 10 |  | 101
5 | 150 | 103 |  |  | 路線番号…省略可
6 | 20 | 130 | 100 | 10 |  | 10
5 | 150 | 133 |  |  | Ｂ：底幅（ｍ）
6 | 20 | 160 | 100 | 10 |  | 0
5 | 150 | 163 |  |  | ｘ：左壁勾配（1:x） 垂直壁は'0'を入力
6 | 20 | 190 | 100 | 10 |  | 0
5 | 150 | 193 |  |  | ｙ：右壁勾配（1:y） 垂直壁は'0'を入力
6 | 20 | 220 | 100 | 10 |  | 0.015
5 | 150 | 223 |  |  | ｎ：粗度係数
6 | 20 | 250 | 100 | 10 |  | 0.11
5 | 150 | 253 |  |  | Ｉ：水路の勾配（‰）
6 | 20 | 280 | 100 | 10 |  | 25
5 | 150 | 283 |  |  | Ｑ：実流量（ｍ3/秒）
5 | 400 | 133 |  |  | 【有効：小数点以下３桁】
5 | 400 | 163 |  |  | 【有効：小数点以下３桁】
5 | 400 | 193 |  |  | 【有効：小数点以下３桁】
5 | 400 | 223 |  |  | 【有効：小数点以下３桁】
5 | 400 | 253 |  |  | 【有効：小数点以下２桁】
5 | 400 | 283 |  |  | 【有効：小数点以下３桁】
1 | 20 | 310 | 100 | 40 | OK
4 | 140 | 310 |  |  | キャンセル
1 | 2 | 3 | 4 | 5 | 6 | 7
| 200 | 50 | 480 | 360 | 円形断面の実水深の計算
5 | 5 | 5 |  |  | 入力後は［Tab］キーで移動して下さい
14 | 15 | 25 | 120 | 60 | 流量公式
11 | [5 empty] | 1
12 | 30 | 40
12 | 30 | 60
5 | 55 | 43 |  |  | マニング
5 | 55 | 63 |  |  | クッター
6 | 20 | 100 | 100 | 10 |  | 15-6
5 | 150 | 103 |  |  | 路線番号…省略可
6 | 20 | 130 | 100 | 10 |  | 1000
5 | 150 | 133 |  |  | Ｄ：直径（mm）
6 | 20 | 160 | 100 | 10 |  | 0.013
5 | 150 | 163 |  |  | ｎ：粗度係数
6 | 20 | 190 | 100 | 10 |  | 1.0
5 | 150 | 193 |  |  | Ｉ：勾配（‰）
6 | 20 | 220 | 100 | 10 |  | 0.0683
5 | 150 | 223 |  |  | Ｑ：実流量（ｍ3/秒）
5 | 300 | 133 |  |  | 【有効：整数値】
5 | 300 | 163 |  |  | 【有効：小数点以下３桁】
5 | 300 | 193 |  |  | 【有効：小数点以下２桁】
5 | 300 | 223 |  |  | 【有効：小数点以下３桁】
1 | 20 | 310 | 100 | 40 | OK
4 | 140 | 310 |  |  | キャンセル
1 | 2 | 3 | 4 | 5 | 6 | 7
| 200 | 50 | 300 | 150 | 断面の選択
14 | 15 | 25 | 200 | 60 | 断面の種類
11 | [5 empty] | 2
12 | 30 | 40
12 | 30 | 60
5 | 55 | 43 |  |  | 矩形渠（台形含む）
5 | 55 | 63 |  |  | 円形
1 | 20 | 100 | 100 | 40 | OK
4 | 140 | 100 |  |  | キャンセル

## マ
#NAME?
開始
#NAME?
#NAME? | 7
#VALUE!
0
矩形 | [5 empty] | 円形
#NAME? | 28 |  | キャンセル |  |  | #NAME? | 22
#VALUE! |  |  | #NAME? |  |  | #VALUE!
#NAME?
#NAME? | 2 | 公式 | #NAME? |  |  | #NAME? | 1 | 公式
#NAME? | 10 | B= | #NAME? |  |  | #NAME? | 1 | D=
#NAME? | 0 | x=
#NAME? | 0 | y=
#NAME? | 0.015 | n= |  |  |  | #NAME? | 0.013 | n=
#NAME? | 0.00011 | I= |  |  |  | #NAME? | 0.001 | I=
#NAME? | 25 | Q= |  |  |  | #NAME? | 0.068 | Q=
#NAME? | [5 empty] | #NAME?
#NAME? | [5 empty] | #NAME?
#NAME? | [5 empty] | #NAME?
#NAME? | [5 empty] | #NAME?
#NAME?
#NAME?
#NAME? | 101 |  |  |  |  | #NAME? | 2005-06-15
#NAME? |  | B= |  |  |  | #NAME? |  | D=
#NAME? |  | x= |  |  |  | #NAME? |  | n=
#NAME? |  | y= |  |  |  | #NAME? |  | I=
#NAME? |  | n= |  |  |  | #NAME? |  | Q=
#NAME? |  | I=
#NAME? |  | Q=
#NAME? | 2.5323 | H= |  |  |  | #NAME? | 0.20237 | H=
#NAME? | [5 empty] | #NAME?
マニング |  |  | クッター |  |  | マニング |  |  | クッター
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
#NAME? |  |  | #NAME? | 1.0882 | N= | #NAME? |  |  | #NAME? | 7.8037 | N=
#NAME? |  |  | #NAME? | 0.55636 | Z= | #NAME? |  |  | #NAME? | 0.23387 | Z=
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
|  |  | #NAME? | [5 empty] | #NAME?
|  |  | #NAME? | [5 empty] | #NAME?
|  |  | #NAME? | [5 empty] | #NAME?
|  |  | #NAME? | [5 empty] | #NAME?
|  |  | #NAME? | [5 empty] | #NAME?
[6 empty] | #NAME? | 0.5 | r= | #NAME? | 0.125 | r=
#NAME? | 0.11239 | A= | #NAME? | 25.323 | A= | #NAME? | 0.11373 | A= | #NAME? | 0.021799 | A=
#NAME? | 1.0493 | P= | #NAME? | 15.0646 | P= | #NAME? | 0.93322 | P= | #NAME? | 0.37068 | P=
#NAME? | 0.3 | A'= | #NAME? | 10 | A'= | #NAME? | 0.80354 | A'= | #NAME? | 0.24903 | A'=
#NAME? | 2 | P'= | #NAME? | 2 | P'= | #NAME? | 2.489 | P'= | #NAME? | 2.0078 | P'=
#NAME? | 6.7157e-13 | F(H)= | #NAME? | 2.8418e-09 | F(H)= | #NAME? | 2.9352e-10 | F(H)= | #NAME? | 6.8646e-14 | F(H)=
#NAME? | 0.6399 | F'(H)= | #NAME? | 26.1869 | F'(H)= | #NAME? | 0.64923 | F'(H)= | #NAME? | 0.15909 | F'(H)=
#NAME? | 0.37465 | H'= | #NAME? | 2.5323 | H'= | #NAME? | 0.20237 | H'= | #NAME? | 0.11401 | H'=
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
#NAME? | 0.375 | 確H= | #NAME? | 2.532 | 確H= | #NAME? | 0.202 | 確H= | #NAME? | 0.114 | 確H=
#NAME? | 1.735 | 確V= | #NAME? | 0.987 | 確V= | #NAME? | 0.598 | 確V= | #NAME? | 0.963 | 確V=
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
#NAME? |  |  | #NAME? |  |  | #NAME? |  |  | #NAME?
|  |  | #NAME? | [5 empty] | #NAME?
|  |  | #NAME? | [5 empty] | #NAME?
|  |  | #NAME? | [5 empty] | #NAME?
印刷 |  |  | 確認終了
#NAME? |  |  | #NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
#NAME?
終了
#NAME?
#NAME?
#NAME?